## CoverSheet
EDB Information Disclosure Requirements
Information Templates
Schedule 10a
| Company Name | Centralines Limited
| Disclosure Date | 2025-08-31
| Disclosure Year (year ended) | 2025-03-31
Template for Schedule 10a
Prepared 16 February 2024.

## TOC
Table of Contents
Schedule | Schedule name
10a | REPORT ON INTERRUPTIONS

## Instructions
Disclosure Template Instructions
This document forms Schedule 10a to the Electricity Distribution Information Disclosure (Targeted Review 2024) Amendment Determination 2024 [2024] NZCC 2.
The Schedules take the form of templates for use by EDBs when making disclosures under subclause 2.5.1 of the Electricity Distribution Information Disclosure Determination 2012.
Company Name and Dates
To prepare the templates for disclosure, the supplier's company name should be entered in cell C8, the date of the last day of the current (disclosure) year should be entered in cell C12, and the date on which the information is disclosed should be entered in cell C10 of the CoverSheet worksheet.
The cell C12 entry (current year) is used to calculate disclosure years in the column headings that show above some of the tables and in labels adjacent to some entry cells. It is also used to calculate the ‘For year ended’ date in the template title blocks (the title blocks are the light green shaded areas at the top of each template). The cell C8 entry (company name) is used in the template title blocks. Dates should be entered in day/month/year order (Example -"1 April 2023").
Data Entry Cells and Calculated Cells
Data entered into this workbook may be entered only into the data entry cells. Data entry cells are the bordered, unshaded areas (white cells) in each template. Under no circumstances should data be entered into the workbook outside a data entry cell.
In some cases, where the information for disclosure is able to be ascertained from disclosures elsewhere in the workbook, such information is disclosed in a calculated cell.
Validation Settings on Data Entry Cells
To maintain a consistency of format and to help guard against errors in data entry, some data entry cells test keyboard entries for validity and accept only a limited range of values. For example, entries may be limited to a list of category names, to values between 0% and 100%, or either a numeric entry or the text entry “N/A”. Where this occurs, a validation message will appear when data is being entered. These checks are applied to keyboard entries only and not, for example, to entries made using Excel’s copy and paste facility.
Inserting Additional Rows and Columns
The schedule 10a template may require additional rows to be inserted in tables marked 'include additional rows if needed' or similar. Column A schedule references should not be entered in additional rows, and should be deleted from additional rows that are created by copying and pasting rows that have schedule references.
Additional rows in the schedule 10a template must not be inserted directly above the first row or below the last row of a table. This is to ensure that entries made in the new row are included in the totals.
Description of Calculation References
Calculation cell formulas contain links to other cells within the same template or elsewhere in the workbook. Key cell references are described in a column to the right of each template. These descriptions are provided to assist data entry. Cell references refer to the row of the template and not the schedule reference.

## S10a.Interruptions
[15 empty] | Company Name | Centralines Limited
[15 empty] | For Year Ended | 2025-03-31
SCHEDULE 10a: REPORT ON INTERRUPTIONS
This schedule requires raw interruption data for the disclosure year. SAIDI and SAIFI is to be recorded using the multi-count approach.Where multiple feeders are affected, the interruption record is to be split into multiple interruptions, ie, one interruption record per feeder. This information is part of audited disclosure information (as defined in section 1.4 of this ID determination), and so is subject to the assurance report required by section 2.8.
sch ref
7 | 10a(i): Raw interruption data
8 |  | Interruption identifier | Circuit location | Sub-network (where applicable) | Feeder(s) affected by interruption | Start date (dd/mm/yyyy) | Start time (hh:mm:ss) | End date (dd/mm/yyyy) | End time (hh:mm:ss) | SAIDI value | SAIFI value | Number of ICPs interrupted | ICP interruption minutes | Planned or unplanned interruption (Class B or C) | Cause | Any explanation to help clarify the context of the interruption, including what the cause is if recorded as 'Other cause'
9 |  | INC 417001795 | 46 - Cooks Tooth/Herbertville |  | 46 - Cooks Tooth/Herbertville | 2024-04-09 | 9:22 | 2024-04-09 | 15:18 | 0.075778 | 0.00021314 | 2 | 711.0667 | Planned | Planned interruption
10 |  | INC 417001796 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-04-09 | 9:59 | 2024-04-09 | 15:29 | 0.1759 | 0.00053285 | 5 | 1650.5833 | Planned | Planned interruption
11 |  | INC 417001812 | 04 - Burnside/Pukeora |  | 01 - OngaOnga/Ashley Clinton | 2024-04-10 | 9:24 | 2024-04-10 | 15:09 | 0.27796 | 0.0075665 | 39 | 2608.2167 | Planned | Planned interruption
12 |  | INC 417001847 | 46 - Cooks Tooth/Herbertville |  | 46 - Cooks Tooth/Herbertville | 2024-04-11 | 9:25 | 2024-04-11 | 16:31 | 0.75142 | 0.0019183 | 18 | 7050.9167 | Planned | Planned interruption
13 |  | INC 417001869 | 46 - Cooks Tooth/Herbertville |  | 46 - Cooks Tooth/Herbertville | 2024-04-11 | 14:36 | 2024-04-11 | 18:15 | 1.6819 | 0.034742 | 325 | 15781.7165 | Unplanned | Vegetation
14 |  | INC 417002005 | 17 - Cook St |  | 17 - Cook St | 2024-04-13 | 7:36 | 2024-04-13 | 18:57 | 0.072619 | 0.00010657 | 1 | 681.4167 | Planned | Planned interruption
15 |  | INC 417002055 | 17 - Cook St |  | 17 - Cook St | 2024-04-14 | 7:45 | 2024-04-14 | 16:03 | 0.053022 | 0.00010657 | 1 | 497.5333 | Planned | Planned interruption
16 |  | INC 417002124 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2024-04-16 | 9:01 | 2024-04-16 | 14:04 | 0.77587 | 0.0025577 | 24 | 7280.4 | Planned | Planned interruption
17 |  | INC 417002129 | 15 - Waipukurau CBD |  | 15 - Waipukurau CBD | 2024-04-16 | 9:10 | 2024-04-16 | 15:48 | 2.2472 | 0.0056482 | 53 | 21086.9333 | Planned | Planned interruption
18 |  | INC 417002207 | 46 - Cooks Tooth/Herbertville |  | 46 - Cooks Tooth/Herbertville | 2024-04-19 | 9:03 | 2024-04-19 | 13:26 | 0.084062 | 0.00031971 | 3 | 788.8 | Planned | Planned interruption
19 |  | INC 417002320 | 03 - Argyll/Ruataniwha |  | 03 - Argyll/Ruataniwha | 2024-04-23 | 9:01 | 2024-04-23 | 13:59 | 2.1081 | 0.0072468 | 68 | 19781.3667 | Planned | Planned interruption
20 |  | INC 417002323 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2024-04-23 | 9:13 | 2024-04-23 | 16:10 | 0.48925 | 0.0011723 | 11 | 4590.85 | Planned | Planned interruption
21 |  | INC 417002351 | 15 - Waipukurau CBD |  | 15 - Waipukurau CBD | 2024-04-24 | 9:04 | 2024-04-24 | 14:39 | 1.0604 | 0.0063942 | 60 | 9950.65 | Planned | Planned interruption
22 |  | INC 417002427 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-04-26 | 10:14 | 2024-04-26 | 11:08 | 1.1586 | 0.057868 | 375 | 10871.483 | Unplanned | Vegetation
23 |  | INC 417002427 | 83 - Omakere/Elsthorpe |  | 88 - Omakere/Pourerere | 2024-04-26 | 10:19 | 2024-04-26 | 10:21 | 0.06586 | 0.038365 | 360 | 617.9998 | Unplanned | Vegetation
24 |  | INC 417002439 | 18 - Waipukurau South/Farm Rd |  | 18 - Waipukurau South/Farm Rd | 2024-04-26 | 16:10 | 2024-04-26 | 16:37 | 0.077029 | 0.0027708 | 26 | 722.8 | Unplanned | Unknown
25 |  | INC 417002462 | 13 - Tapairu/Mangatarata |  | 13 - Tapairu/Mangatarata | 2024-04-27 | 14:29 | 2024-04-29 | 15:16 | 0.62383 | 0.00021314 | 2 | 5853.7 | Unplanned | Vegetation
26 |  | INC 417002510 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2024-04-30 | 9:10 | 2024-04-30 | 14:14 | 0.32396 | 0.0010657 | 10 | 3039.8333 | Planned | Planned interruption
27 |  | INC 417002514 | 46 - Cooks Tooth/Herbertville |  | 46 - Cooks Tooth/Herbertville | 2024-04-30 | 9:16 | 2024-04-30 | 13:59 | 0.030154 | 0.00010657 | 1 | 282.95 | Planned | Planned interruption
28 |  | INC 417002560 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2024-05-02 | 0:03 | 2024-05-02 | 3:41 | 0.87268 | 0.04039 | 199 | 8188.7665 | Unplanned | Wildlife
29 |  | INC 417002572 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2024-05-02 | 9:09 | 2024-05-02 | 14:20 | 0.33086 | 0.0010657 | 10 | 3104.6667 | Planned | Planned interruption
30 |  | INC 417002722 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2024-05-07 | 9:25 | 2024-05-07 | 13:47 | 0.50284 | 0.0019183 | 18 | 4718.4 | Planned | Planned interruption
31 |  | INC 417002788 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2024-05-13 | 9:12 | 2024-05-13 | 13:44 | 0.49212 | 0.0018117 | 17 | 4617.7667 | Planned | Planned interruption
32 |  | INC 417002791 | 75 - Paget Rd/Burnside |  | 75 - Paget Rd/Burnside | 2024-05-13 | 9:28 | 2024-05-13 | 10:32 | 0.047793 | 0.00074599 | 7 | 448.4667 | Planned | Planned interruption
33 |  | INC 417002821 | 19 - Hatuma/Wanstead |  | 45 - Porangahau/Wallingford | 2024-05-14 | 9:09 | 2024-05-14 | 16:21 | 0.8853 | 0.0021314 | 20 | 8307.2 | Planned | Planned interruption
34 |  | INC 417002823 | 78 - Hinerangi |  | 78 - Hinerangi | 2024-05-14 | 9:14 | 2024-05-14 | 12:08 | 0.11126 | 0.00063942 | 6 | 1044 | Planned | Planned interruption
35 |  | INC 417002932 | 76 - Maharakeke |  | 76 - Maharakeke | 2024-05-16 | 9:19 | 2024-05-16 | 15:31 | 1.5069 | 0.0040497 | 38 | 14139.8 | Planned | Planned interruption
36 |  | INC 417003058 | 02 - Wakarara/Tikokino |  | 02 - Wakarara/Tikokino | 2024-05-20 | 9:13 | 2024-05-20 | 12:39 | 0.021918 | 0.00010657 | 1 | 205.6667 | Planned | Planned interruption
37 |  | INC 417003184 | 88 - Omakere/Pourerere |  | 88 - Omakere/Pourerere | 2024-06-19 | 9:24 | 2024-06-19 | 13:28 | 0.76371 | 0.019502 | 104 | 7166.2499 | Planned | Planned interruption
38 |  | INC 417003227 | 85 - Waipawa Urban |  | 85 - Waipawa Urban | 2024-06-22 | 14:56 | 2024-06-22 | 15:52 | 3.9664 | 0.085043 | 798 | 37218.5998 | Unplanned | Unknown
39 |  | INC 417003279 | 03 - Argyll/Ruataniwha |  | 03 - Argyll/Ruataniwha | 2024-06-24 | 9:46 | 2024-06-24 | 11:43 | 0.012463 | 0.00010657 | 1 | 116.95 | Planned | Planned interruption
40 |  | INC 417003393 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2024-06-26 | 17:56 | 2024-06-26 | 17:57 | 0.0097352 | 0.0092716 | 87 | 91.35 | Unplanned | Unknown
41 |  | INC 417003462 | 15 - Waipukurau CBD |  | 15 - Waipukurau CBD | 2024-06-29 | 9:53 | 2024-06-29 | 12:34 | 1.2207 | 0.0075665 | 71 | 11454.6666 | Unplanned | Defective equipment
42 |  | INC 417003477 | 17 - Cook St |  | 15 - Waipukurau CBD | 2024-06-29 | 9:52 | 2024-06-29 | 12:39 | 1.936 | 0.011723 | 110 | 18166 | Unplanned | Defective equipment
43 |  | INC 417003597 | Wilder Rd |  | 45 - Porangahau/Wallingford | 2024-07-02 | 10:40 | 2024-07-02 | 12:30 | 1.6174 | 0.087387 | 410 | 15176.8331 | Unplanned | Unknown
44 |  | INC 417003597 | Wilder Rd |  | 46 - Cooks Tooth/Herbertville | 2024-07-02 | 10:40 | 2024-07-02 | 12:34 | 1.4815 | 0.072681 | 341 | 13901.4331 | Unplanned | Unknown
45 |  | INC 417003639 | 13 - Tapairu/Mangatarata |  | 13 - Tapairu/Mangatarata | 2024-07-03 | 9:16 | 2024-07-03 | 14:04 | 2.3949 | 0.0085256 | 79 | 22472.7833 | Planned | Planned interruption
46 |  | INC 417003740 | 13 - Tapairu/Mangatarata |  | 13 - Tapairu/Mangatarata | 2024-07-05 | 9:20 | 2024-07-05 | 12:10 | 1.1207 | 0.0066073 | 62 | 10516.2333 | Planned | Planned interruption
47 |  | INC 417003891 | 13 - Tapairu/Mangatarata |  | 13 - Tapairu/Mangatarata | 2024-07-09 | 9:04 | 2024-07-09 | 12:34 | 0.58344 | 0.0027708 | 26 | 5474.7333 | Planned | Planned interruption
48 |  | INC 417003894 | 88 - Omakere/Pourerere |  | 88 - Omakere/Pourerere | 2024-07-09 | 9:16 | 2024-07-09 | 13:54 | 0.3857 | 0.0013854 | 13 | 3619.2 | Planned | Planned interruption
49 |  | INC 417004040 | 88 - Omakere/Pourerere |  | 83 - Omakere/Elsthorpe | 2024-07-12 | 9:10 | 2024-07-12 | 12:19 | 0.020119 | 0.00010657 | 1 | 188.7833 | Planned | Planned interruption
50 |  | INC 417004191 | 91 - Te Kura |  | 91 - Te Kura | 2024-07-16 | 9:05 | 2024-07-16 | 13:03 | 0.12698 | 0.00053285 | 5 | 1191.5167 | Planned | Planned interruption
51 |  | INC 417004194 | 83 - Omakere/Elsthorpe |  | 88 - Omakere/Pourerere | 2024-07-16 | 9:57 | 2024-07-16 | 14:25 | 0.028646 | 0.00010657 | 1 | 268.8 | Planned | Planned interruption
52 |  | INC 417004202 | 18 - Waipukurau South/Farm Rd |  | 18 - Waipukurau South/Farm Rd | 2024-07-19 | 21:25 | 2024-07-19 | 21:41 | 0.044168 | 0.0028774 | 27 | 414.45 | Unplanned | Unknown
53 |  | INC 417004222 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2024-07-21 | 0:33 | 2024-07-21 | 1:56 | 0.24727 | 0.002984 | 28 | 2320.2666 | Unplanned | Unknown
54 |  | INC 417004290 | 85 - Waipawa Urban |  | 85 - Waipawa Urban | 2024-07-23 | 9:08 | 2024-07-23 | 16:06 | 2.4794 | 0.043267 | 223 | 23265.3332 | Planned | Planned interruption
55 |  | INC 417004291 | 88 - Omakere/Pourerere |  | 88 - Omakere/Pourerere | 2024-07-23 | 9:40 | 2024-07-23 | 15:36 | 0.36394 | 0.002238 | 15 | 3415.05 | Planned | Planned interruption
56 |  | INC 417004368 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-07-25 | 9:02 | 2024-07-25 | 14:33 | 0.95277 | 0.0028774 | 27 | 8940.2833 | Planned | Planned interruption
57 |  | INC 417004528 | 88 - Omakere/Pourerere |  | 88 - Omakere/Pourerere | 2024-07-30 | 9:14 | 2024-07-30 | 12:50 | 0.023032 | 0.00010657 | 1 | 216.1167 | Planned | Planned interruption
58 |  | INC 417004557 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-08-01 | 10:24 | 2024-08-01 | 12:24 | 0.38057 | 0.0036234 | 34 | 3571.0833 | Planned | Planned interruption
59 |  | INC 417004558 | 76 - Maharakeke |  | 76 - Maharakeke | 2024-08-01 | 10:38 | 2024-08-01 | 11:57 | 0.016955 | 0.00021314 | 2 | 159.1 | Unplanned | Defective equipment
60 |  | INC 417004670 | 14 - Waipukurau Urban |  | 14 - Waipukurau Urban | 2024-08-05 | 9:37 | 2024-08-05 | 15:52 | 0.079881 | 0.00021314 | 2 | 749.5667 | Planned | Planned interruption
61 |  | INC 417004724 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-08-06 | 9:08 | 2024-08-06 | 14:43 | 0.95852 | 0.002984 | 28 | 8994.2833 | Planned | Planned interruption
62 |  | INC 417004818 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-08-08 | 9:27 | 2024-08-08 | 15:35 | 3.4526 | 0.013321 | 107 | 32397.0166 | Planned | Planned interruption
63 |  | INC 417004822 | 91 - Te Kura |  | 91 - Te Kura | 2024-08-08 | 11:56 | 2024-08-08 | 12:21 | 0.007721 | 0.00031971 | 3 | 72.45 | Unplanned | Other cause | Tap change for voltage
64 |  | INC 417004850 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2024-08-09 | 9:07 | 2024-08-09 | 15:48 | 1.2519 | 0.0031971 | 30 | 11746.75 | Planned | Planned interruption
65 |  | INC 417004898 | 75 - Paget Rd/Burnside |  | 75 - Paget Rd/Burnside | 2024-08-11 | 0:03 | 2024-08-11 | 0:27 | 0.61236 | 0.030053 | 282 | 5746.0498 | Unplanned | Defective equipment
66 |  | INC 417004899 | 75 - Paget Rd/Burnside |  | 75 - Paget Rd/Burnside | 2024-08-11 | 2:29 | 2024-08-11 | 7:04 | 0.24716 | 0.030586 | 282 | 2319.2165 | Unplanned | Defective equipment
67 |  | INC 417004931 | Wilder Rd |  | 45 - Porangahau/Wallingford | 2024-08-12 | 8:21 | 2024-08-12 | 8:31 | 0.46361 | 0.044013 | 413 | 4350.2665 | Unplanned | Defective equipment
68 |  | INC 417004931 | Wilder Rd |  | 46 - Cooks Tooth/Herbertville | 2024-08-12 | 8:21 | 2024-08-12 | 8:34 | 0.4998 | 0.03666 | 344 | 4689.8666 | Unplanned | Defective equipment
69 |  | INC 417004965 | 74 - Takapau Urban/Otawhao |  | 74 - Takapau Urban/Otawhao | 2024-08-12 | 17:53 | 2024-08-12 | 20:11 | 5.1579 | 0.043907 | 412 | 48398.7332 | Unplanned | Unknown
70 |  | INC 417004988 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-08-12 | 21:32 | 2024-08-12 | 22:08 | 0.02852 | 0.00085256 | 8 | 267.6167 | Unplanned | Vegetation
71 |  | INC 417005010 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-08-13 | 9:08 | 2024-08-13 | 14:46 | 1.0075 | 0.002984 | 28 | 9453.7 | Planned | Planned interruption
72 |  | INC 417005023 | 04 - Burnside/Pukeora |  | 75 - Paget Rd/Burnside | 2024-08-13 | 11:57 | 2024-08-13 | 15:03 | 0.039601 | 0.00021314 | 2 | 371.6 | Planned | Planned interruption
73 |  | INC 417005096 | 75 - Paget Rd/Burnside |  | 75 - Paget Rd/Burnside | 2024-08-15 | 9:02 | 2024-08-15 | 17:33 | 0.25175 | 0.00095913 | 9 | 2362.25 | Planned | Planned interruption
74 |  | INC 417005097 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-08-15 | 9:18 | 2024-08-15 | 14:21 | 0.064738 | 0.00021314 | 2 | 607.4667 | Planned | Planned interruption
75 |  | INC 417005266 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-08-19 | 9:16 | 2024-08-19 | 12:00 | 0.034987 | 0.00021314 | 2 | 328.3 | Planned | Planned interruption
76 |  | INC 417005312 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2024-08-19 | 18:59 | 2024-08-19 | 20:26 | 0.0093178 | 0.00010657 | 1 | 87.4333 | Unplanned | Defective equipment
77 |  | INC 417005328 | 14 - Waipukurau Urban |  | 14 - Waipukurau Urban | 2024-08-20 | 9:07 | 2024-08-20 | 13:54 | 2.4354 | 0.034742 | 282 | 22852.8332 | Planned | Planned interruption
78 |  | INC 417005424 | 75 - Paget Rd/Burnside |  | 75 - Paget Rd/Burnside | 2024-08-23 | 9:08 | 2024-08-23 | 12:52 | 0.45309 | 0.0020248 | 19 | 4251.5667 | Planned | Planned interruption
79 |  | INC 417005467 | 13 - Tapairu/Mangatarata |  | 13 - Tapairu/Mangatarata | 2024-08-25 | 0:34 | 2024-08-25 | 2:21 | 0.45927 | 0.0044759 | 42 | 4309.55 | Unplanned | Vegetation
80 |  | INC 417005556 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-08-27 | 9:15 | 2024-08-27 | 15:01 | 1.2154 | 0.0035168 | 33 | 11405.1333 | Planned | Planned interruption
81 |  | INC 417005585 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-08-28 | 8:37 | 2024-08-28 | 12:24 | 0.024193 | 0.00010657 | 1 | 227.0167 | Planned | Planned interruption
82 |  | INC 417005613 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2024-08-29 | 9:13 | 2024-08-29 | 13:44 | 0.49015 | 0.0018117 | 17 | 4599.3 | Planned | Planned interruption
83 |  | INC 417005615 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-08-29 | 9:42 | 2024-08-29 | 12:47 | 0.019712 | 0.00010657 | 1 | 184.9667 | Planned | Planned interruption
84 |  | INC 417005765 | 46 - Cooks Tooth/Herbertville |  | 46 - Cooks Tooth/Herbertville | 2024-09-01 | 16:07 | 2024-09-02 | 6:52 | 0.094346 | 0.00010657 | 1 | 885.3 | Unplanned | Defective equipment
85 |  | INC 417005777 | 88 - Omakere/Pourerere |  | 88 - Omakere/Pourerere | 2024-09-01 | 23:05 | 2024-09-01 | 23:50 | 0.0095274 | 0.00021314 | 2 | 89.4 | Unplanned | Defective equipment
86 |  | INC 417005839 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-09-03 | 9:01 | 2024-09-03 | 11:10 | 0.013756 | 0.00010657 | 1 | 129.0833 | Unplanned | Third party interference
87 |  | INC 417005841 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-09-03 | 9:07 | 2024-09-03 | 12:07 | 0.019163 | 0.00010657 | 1 | 179.8167 | Unplanned | Third party interference
88 |  | INC 417005843 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-09-03 | 9:23 | 2024-09-03 | 14:50 | 1.1849 | 0.0036234 | 34 | 11118.5666 | Planned | Planned interruption
89 |  | INC 417005913 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-09-04 | 9:07 | 2024-09-04 | 10:52 | 0.022362 | 0.00021314 | 2 | 209.8333 | Planned | Planned interruption
90 |  | INC 417005952 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-09-05 | 9:30 | 2024-09-05 | 15:39 | 0.66851 | 0.0018117 | 17 | 6273 | Planned | Planned interruption
91 |  | INC 417006115 | 18 - Waipukurau South/Farm Rd |  | 18 - Waipukurau South/Farm Rd | 2024-09-11 | 9:39 | 2024-09-11 | 12:55 | 0.38533 | 0.0146 | 137 | 3615.7667 | Unplanned | Vegetation
92 |  | INC 417006118 | 75 - Paget Rd/Burnside |  | 75 - Paget Rd/Burnside | 2024-09-11 | 9:03 | 2024-09-11 | 14:07 | 0.29178 | 0.00095913 | 9 | 2737.95 | Planned | Planned interruption
93 |  | INC 417006265 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-09-17 | 9:12 | 2024-09-17 | 10:24 | 0.015375 | 0.00021314 | 2 | 144.2667 | Planned | Planned interruption
94 |  | INC 417006317 | 13 - Tapairu/Mangatarata |  | 13 - Tapairu/Mangatarata | 2024-09-18 | 6:15 | 2024-09-18 | 6:42 | 0.25868 | 0.009911 | 93 | 2427.3 | Unplanned | Unknown
95 |  | INC 417006371 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2024-09-19 | 9:13 | 2024-09-19 | 12:59 | 0.67447 | 0.002984 | 28 | 6328.9333 | Planned | Planned interruption
96 |  | INC 417006403 | 74 - Takapau Urban/Otawhao |  | 74 - Takapau Urban/Otawhao | 2024-09-19 | 22:57 | 2024-09-20 | 3:48 | 1.8754 | 0.02952 | 129 | 17597.4832 | Unplanned | Defective equipment
97 |  | INC 417006414 | 91 - Te Kura |  | 91 - Te Kura | 2024-09-20 | 7:35 | 2024-09-20 | 10:23 | 0.071771 | 0.00042628 | 4 | 673.4667 | Unplanned | Vegetation
98 |  | INC 417006443 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-09-20 | 19:19 | 2024-09-20 | 22:00 | 0.78299 | 0.0082059 | 77 | 7347.2 | Unplanned | Third party interference
99 |  | INC 417006516 | 86 - Otane/Pukehou |  | 86 - Otane/Pukehou | 2024-09-24 | 8:33 | 2024-09-24 | 17:32 | 3.3434 | 0.037832 | 207 | 31372.3666 | Planned | Planned interruption
100 |  | INC 417006529 | 46 - Cooks Tooth/Herbertville |  | 46 - Cooks Tooth/Herbertville | 2024-09-24 | 9:53 | 2024-09-24 | 12:58 | 0.028422 | 0.00042628 | 2 | 266.7 | Unplanned | Other cause | Tap change for voltage
101 |  | INC 417006538 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2024-09-24 | 12:49 | 2024-09-24 | 16:39 | 2.5512 | 0.061278 | 414 | 23938.8665 | Unplanned | Third party interference
102 |  | INC 417006540 | 46 - Cooks Tooth/Herbertville |  | 46 - Cooks Tooth/Herbertville | 2024-09-24 | 12:56 | 2024-09-24 | 12:58 | 0.043829 | 0.021207 | 199 | 411.2665 | Unplanned | Third party interference
103 |  | INC 417006541 | 03 - Argyll/Ruataniwha |  | 03 - Argyll/Ruataniwha | 2024-09-24 | 13:06 | 2024-09-24 | 16:29 | 0.89502 | 0.0058614 | 55 | 8398.45 | Unplanned | Defective equipment
104 |  | INC 417006579 | 46 - Cooks Tooth/Herbertville |  | 46 - Cooks Tooth/Herbertville | 2024-09-24 | 17:57 | 2024-09-24 | 21:01 | 0.23458 | 0.0012788 | 12 | 2201.2 | Unplanned | Defective equipment
105 |  | INC 417006658 | 03 - Argyll/Ruataniwha |  | 03 - Argyll/Ruataniwha | 2024-09-26 | 9:38 | 2024-09-26 | 13:16 | 1.0421 | 0.0047957 | 45 | 9778.25 | Planned | Planned interruption
106 |  | INC 417006784 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-10-01 | 9:11 | 2024-10-01 | 14:24 | 1.4528 | 0.0047957 | 45 | 13632.05 | Planned | Planned interruption
107 |  | INC 417006784 | 83 - Omakere/Elsthorpe |  | 88 - Omakere/Pourerere | 2024-10-01 | 9:00 | 2024-10-01 | 14:35 | 11.9436 | 0.035808 | 336 | 112072.9 | Planned | Planned interruption
108 |  | INC 417006945 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-11-12 | 9:11 | 2024-11-12 | 14:19 | 0.65647 | 0.0021314 | 20 | 6160 | Planned | Planned interruption
109 |  | INC 417007023 | 91 - Te Kura |  | 91 - Te Kura | 2024-11-14 | 10:04 | 2024-11-14 | 13:08 | 0.039122 | 0.00021314 | 2 | 367.1 | Planned | Planned interruption
110 |  | INC 417007033 | 75 - Paget Rd/Burnside |  | 75 - Paget Rd/Burnside | 2024-11-14 | 14:24 | 2024-11-14 | 14:28 | 0.00042628 | 0.00010657 | 1 | 4 | Unplanned | Other cause | Tap change for voltage
111 |  | INC 417007076 | 73 - Silver Fern 2 |  | 71 - Silver Fern 1 | 2024-11-15 | 11:03 | 2024-11-15 | 12:30 | 0.0021829 | 0.00021314 | 1 | 20.4833 | Planned | Planned interruption
112 |  | INC 417007290 | 46 - Cooks Tooth/Herbertville |  | 46 - Cooks Tooth/Herbertville | 2024-11-23 | 10:54 | 2024-11-23 | 11:10 | 0.16325 | 0.021207 | 199 | 1531.85 | Unplanned | Unknown
113 |  | INC 417007293 | 76 - Maharakeke |  | 76 - Maharakeke | 2024-11-23 | 12:25 | 2024-11-23 | 12:30 | 0.0009911 | 0.00021314 | 2 | 9.3 | Unplanned | Unknown
114 |  | INC 417007329 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2024-11-24 | 13:09 | 2024-11-24 | 13:11 | 0.1027 | 0.044013 | 413 | 963.6665 | Unplanned | Defective equipment
115 |  | INC 417007329 | 45 - Porangahau/Wallingford |  | 46 - Cooks Tooth/Herbertville | 2024-11-24 | 13:00 | 2024-11-24 | 17:37 | 1.196 | 0.041562 | 199 | 11223.0332 | Unplanned | Defective equipment
116 |  | INC 417007387 | 76 - Maharakeke |  | 76 - Maharakeke | 2024-11-26 | 9:17 | 2024-11-26 | 15:32 | 0.194 | 0.00053285 | 5 | 1820.3667 | Planned | Planned interruption
117 |  | INC 417007426 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-11-27 | 9:03 | 2024-11-27 | 14:51 | 1.0774 | 0.0031971 | 30 | 10110.1 | Planned | Planned interruption
118 |  | INC 417007485 | 46 - Cooks Tooth/Herbertville |  | 46 - Cooks Tooth/Herbertville | 2024-11-29 | 0:34 | 2024-11-29 | 0:36 | 0.016648 | 0.0096979 | 91 | 156.2166 | Unplanned | Unknown
119 |  | INC 417007500 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-11-29 | 9:09 | 2024-11-29 | 11:32 | 0.030326 | 0.00021314 | 2 | 284.5667 | Planned | Planned interruption
120 |  | INC 417007504 | 46 - Cooks Tooth/Herbertville |  | 46 - Cooks Tooth/Herbertville | 2024-11-29 | 9:45 | 2024-11-29 | 19:37 | 0.063161 | 0.00010657 | 1 | 592.6667 | Unplanned | Vegetation
121 |  | INC 417007511 | 75 - Paget Rd/Burnside |  | 75 - Paget Rd/Burnside | 2024-11-29 | 11:18 | 2024-11-29 | 11:59 | 0.0088418 | 0.00021314 | 2 | 82.9667 | Unplanned | Defective equipment
122 |  | INC 417007520 | 91 - Te Kura |  | 91 - Te Kura | 2024-11-29 | 13:53 | 2024-11-29 | 17:14 | 0.39709 | 0.0020248 | 19 | 3726.1167 | Planned | Planned interruption
123 |  | INC 417007527 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2024-07-02 | 10:40 | 2024-11-29 | 17:59 | 1.3257 | 0.015879 | 143 | 12439.7666 | Unplanned | Defective equipment
124 |  | INC 417007595 | 03 - Argyll/Ruataniwha |  | 03 - Argyll/Ruataniwha | 2024-12-02 | 9:36 | 2024-12-02 | 12:52 | 0.062583 | 0.00031971 | 3 | 587.25 | Planned | Planned interruption
125 |  | INC 417007614 | 46 - Cooks Tooth/Herbertville |  | 46 - Cooks Tooth/Herbertville | 2024-12-04 | 14:31 | 2024-12-04 | 17:38 | 0.35801 | 0.0019183 | 18 | 3359.4 | Unplanned | Vegetation
126 |  | INC 417007646 | 85 - Waipawa Urban |  | 85 - Waipawa Urban | 2024-12-05 | 9:06 | 2024-12-05 | 12:18 | 1.3581 | 0.0072468 | 68 | 12744.05 | Planned | Planned interruption
127 |  | INC 417007648 | 18 - Waipukurau South/Farm Rd |  | 15 - Waipukurau CBD | 2024-12-05 | 9:07 | 2024-12-05 | 16:40 | 3.9013 | 0.011616 | 109 | 36607.7666 | Planned | Planned interruption
128 |  | INC 417007732 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2024-12-06 | 15:47 | 2024-12-06 | 17:40 | 0.21603 | 0.0019183 | 18 | 2027.1 | Unplanned | Defective equipment
129 |  | INC 417007797 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-12-09 | 9:09 | 2024-12-09 | 14:01 | 0.82424 | 0.002984 | 28 | 7734.2167 | Planned | Planned interruption
130 |  | INC 417007809 | 15 - Waipukurau CBD |  | 15 - Waipukurau CBD | 2024-12-09 | 12:24 | 2024-12-09 | 14:33 | 0.53879 | 0.0041562 | 39 | 5055.7 | Planned | Planned interruption
131 |  | INC 417007846 | 85 - Waipawa Urban |  | 85 - Waipawa Urban | 2024-12-10 | 9:21 | 2024-12-10 | 14:31 | 2.6479 | 0.0085256 | 80 | 24846.6666 | Planned | Planned interruption
132 |  | INC 417007895 | 88 - Omakere/Pourerere |  | 88 - Omakere/Pourerere | 2024-12-11 | 9:09 | 2024-12-11 | 14:34 | 6.8267 | 0.021421 | 201 | 64058.3665 | Planned | Planned interruption
133 |  | INC 417007928 | 46 - Cooks Tooth/Herbertville |  | 46 - Cooks Tooth/Herbertville | 2024-12-12 | 9:05 | 2024-12-12 | 13:40 | 0.38053 | 0.0013854 | 13 | 3570.6667 | Planned | Planned interruption
134 |  | INC 417007930 | 01 - OngaOnga/Ashley Clinton |  | 01 - OngaOnga/Ashley Clinton | 2024-12-12 | 9:12 | 2024-12-12 | 11:32 | 0.014964 | 0.00010657 | 1 | 140.4167 | Planned | Planned interruption
135 |  | INC 417007974 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-12-13 | 9:18 | 2024-12-13 | 11:24 | 0.14765 | 0.0011723 | 11 | 1385.45 | Planned | Planned interruption
136 |  | INC 417007979 | 01 - OngaOnga/Ashley Clinton |  | 01 - OngaOnga/Ashley Clinton | 2024-12-13 | 12:24 | 2024-12-13 | 12:59 | 0.003698 | 0.00010657 | 1 | 34.7 | Unplanned | Defective equipment
137 |  | INC 417008091 | 02 - Wakarara/Tikokino |  | 02 - Wakarara/Tikokino | 2024-12-16 | 22:54 | 2024-12-17 | 3:27 | 0.97072 | 0.010337 | 63 | 9108.7166 | Unplanned | Third party interference
138 |  | INC 417008121 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2024-12-17 | 9:10 | 2024-12-17 | 15:05 | 0.37912 | 0.0010657 | 10 | 3557.5 | Planned | Planned interruption
139 |  | INC 417008254 | 88 - Omakere/Pourerere |  | 88 - Omakere/Pourerere | 2024-12-19 | 9:06 | 2024-12-19 | 10:13 | 0.035923 | 0.00053285 | 5 | 337.0833 | Planned | Planned interruption
140 |  | INC 417008258 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2024-12-19 | 9:22 | 2024-12-19 | 12:11 | 0.035918 | 0.00021314 | 2 | 337.0333 | Planned | Planned interruption
141 |  | INC 417008267 | 88 - Omakere/Pourerere |  | 88 - Omakere/Pourerere | 2024-12-19 | 10:07 | 2024-12-19 | 12:30 | 0.16479 | 0.0055416 | 29 | 1546.3 | Planned | Planned interruption
142 |  | INC 417008367 | 03 - Argyll/Ruataniwha |  | 03 - Argyll/Ruataniwha | 2024-12-21 | 15:50 | 2024-12-21 | 15:55 | 0.059811 | 0.01833 | 172 | 561.2333 | Unplanned | Unknown
143 |  | INC 417008422 | 02 - Wakarara/Tikokino |  | 02 - Wakarara/Tikokino | 2024-12-21 | 22:12 | 2024-12-22 | 13:31 | 0.17745 | 0.0028774 | 14 | 1665.1 | Unplanned | Vegetation
144 |  | INC 417008599 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2024-12-26 | 24:00 | 2024-12-27 | 5:45 | 1.1093 | 0.016625 | 97 | 10409.2832 | Unplanned | Defective equipment
145 |  | INC 417008600 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2024-12-27 | 0:07 | 2024-12-27 | 0:10 | 0.048766 | 0.01524 | 143 | 457.6 | Unplanned | Defective equipment
146 |  | INC 417008604 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2024-12-27 | 2:14 | 2024-12-27 | 2:20 | 0.066914 | 0.010764 | 101 | 627.8833 | Unplanned | Defective equipment
147 |  | INC 417008674 | 02 - Wakarara/Tikokino |  | 02 - Wakarara/Tikokino | 2024-12-27 | 16:19 | 2024-12-27 | 19:18 | 0.7803 | 0.0043694 | 41 | 7321.9167 | Unplanned | Vegetation
148 |  | INC 417008776 | 86 - Otane/Pukehou |  | 86 - Otane/Pukehou | 2024-12-30 | 8:29 | 2024-12-30 | 9:06 | 0.0038845 | 0.00010657 | 1 | 36.45 | Unplanned | Unknown
149 |  | INC 417008896 | 88 - Omakere/Pourerere |  | 88 - Omakere/Pourerere | 2025-01-02 | 12:33 | 2025-01-02 | 13:24 | 0.0054599 | 0.00010657 | 1 | 51.2333 | Unplanned | Defective equipment
150 |  | INC 417008963 | 88 - Omakere/Pourerere |  | 88 - Omakere/Pourerere | 2025-01-04 | 17:35 | 2025-01-04 | 20:09 | 0.081881 | 0.00053285 | 5 | 768.3333 | Unplanned | Vegetation
151 |  | INC 417008996 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2025-01-06 | 9:09 | 2025-01-06 | 11:13 | 0.013115 | 0.00010657 | 1 | 123.0667 | Planned | Planned interruption
152 |  | INC 417009086 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2025-01-17 | 9:03 | 2025-01-17 | 13:30 | 0.45501 | 0.0017051 | 16 | 4269.6 | Planned | Planned interruption
153 |  | INC 417009138 | 74 - Takapau Urban/Otawhao |  | 74 - Takapau Urban/Otawhao | 2025-02-28 | 11:03 | 2025-02-28 | 12:07 | 0.095586 | 0.001492 | 14 | 896.9333 | Planned | Planned interruption
154 |  | INC 417009170 | 76 - Maharakeke |  | 76 - Maharakeke | 2025-03-01 | 16:50 | 2025-03-01 | 16:53 | 0.00072468 | 0.00021314 | 2 | 6.8 | Unplanned | Unknown
155 |  | INC 417009253 | 74 - Takapau Urban/Otawhao |  | 74 - Takapau Urban/Otawhao | 2025-03-06 | 9:05 | 2025-03-06 | 13:16 | 0.21421 | 0.00085256 | 8 | 2010 | Planned | Planned interruption
156 |  | INC 417009255 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2025-03-06 | 9:20 | 2025-03-06 | 14:57 | 0.93254 | 0.012575 | 71 | 8750.4999 | Planned | Planned interruption
157 |  | INC 417009293 | 19 - Hatuma/Wanstead |  | 45 - Porangahau/Wallingford | 2025-03-07 | 10:48 | 2025-03-07 | 11:25 | 0.0039733 | 0.00010657 | 1 | 37.2833 | Unplanned | Unknown
158 |  | INC 417009385 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2025-03-11 | 9:51 | 2025-03-11 | 15:53 | 3.6994 | 0.010231 | 96 | 34713.65 | Planned | Planned interruption
159 |  | INC 417009429 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2025-03-12 | 9:30 | 2025-03-12 | 15:20 | 0.95936 | 0.012575 | 71 | 9002.1167 | Planned | Planned interruption
160 |  | INC 417009462 | 46 - Cooks Tooth/Herbertville |  | 46 - Cooks Tooth/Herbertville | 2025-03-12 | 21:44 | 2025-03-13 | 3:14 | 4.3212 | 0.021207 | 199 | 40548.2666 | Unplanned | Wildlife
161 |  | INC 417009498 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2025-03-14 | 6:23 | 2025-03-14 | 6:26 | 0.06861 | 0.044227 | 415 | 643.7998 | Unplanned | Unknown
162 |  | INC 417009507 | 74 - Takapau Urban/Otawhao |  | 74 - Takapau Urban/Otawhao | 2025-03-14 | 10:46 | 2025-03-14 | 11:54 | 0.0072787 | 0.00010657 | 1 | 68.3 | Unplanned | Defective equipment
163 |  | INC 417009538 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2025-03-15 | 12:37 | 2025-03-15 | 15:54 | 0.69287 | 0.0035168 | 33 | 6501.55 | Unplanned | Third party interference
164 |  | INC 417009544 | 85 - Waipawa Urban |  | 85 - Waipawa Urban | 2025-03-16 | 7:22 | 2025-03-16 | 8:47 | 3.4009 | 0.085789 | 805 | 31912.3829 | Unplanned | Wildlife
165 |  | INC 417009574 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2025-03-17 | 9:28 | 2025-03-17 | 13:45 | 0.41088 | 0.0015986 | 15 | 3855.5 | Planned | Planned interruption
166 |  | INC 417009606 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2025-03-18 | 9:47 | 2025-03-18 | 11:51 | 0.026419 | 0.00021314 | 2 | 247.9 | Planned | Planned interruption
167 |  | INC 417009639 | 03 - Argyll/Ruataniwha |  | 03 - Argyll/Ruataniwha | 2025-03-19 | 8:47 | 2025-03-19 | 9:50 | 0.02704 | 0.00042628 | 4 | 253.7333 | Unplanned | Defective equipment
168 |  | INC 417009669 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2025-03-20 | 1:17 | 2025-03-20 | 1:32 | 0.20979 | 0.04039 | 379 | 1968.5665 | Unplanned | Unknown
169 |  | INC 417009765 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2025-03-22 | 9:28 | 2025-03-22 | 14:46 | 0.86147 | 0.012575 | 71 | 8083.5666 | Planned | Planned interruption
170 |  | INC 417009767 | 74 - Takapau Urban/Otawhao |  | 74 - Takapau Urban/Otawhao | 2025-03-22 | 10:32 | 2025-03-22 | 13:15 | 0.97297 | 0.0059679 | 56 | 9129.8666 | Planned | Planned interruption
171 |  | INC 417009811 | 46 - Cooks Tooth/Herbertville |  | 46 - Cooks Tooth/Herbertville | 2025-03-24 | 9:49 | 2025-03-24 | 10:09 | 0.040632 | 0.0020248 | 19 | 381.2667 | Planned | Planned interruption
172 |  | INC 417009835 | 19 - Hatuma/Wanstead |  | 45 - Porangahau/Wallingford | 2025-03-26 | 9:10 | 2025-03-26 | 13:25 | 0.51647 | 0.0020248 | 19 | 4846.2667 | Planned | Planned interruption
173 |  | INC 417009908 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2025-03-28 | 9:09 | 2025-03-28 | 11:48 | 0.01695 | 0.00010657 | 1 | 159.05 | Planned | Planned interruption
174 |  | INC 417009912 | 13 - Tapairu/Mangatarata |  | 13 - Tapairu/Mangatarata | 2025-03-28 | 13:10 | 2025-03-28 | 16:07 | 0.13193 | 0.010764 | 101 | 1237.9333 | Planned | Planned interruption
175 |  | INC 421003346 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2024-04-03 | 9:10 | 2024-04-03 | 12:51 | 0.58996 | 0.0033037 | 31 | 5535.8667 | Planned | Planned interruption
176 |  | INC 421003381 | 46 - Cooks Tooth/Herbertville |  | 46 - Cooks Tooth/Herbertville | 2024-04-04 | 9:02 | 2024-04-04 | 14:16 | 0.066979 | 0.00021314 | 2 | 628.5 | Planned | Planned interruption
177 |  | INC 421003383 | 02 - Wakarara/Tikokino |  | 02 - Wakarara/Tikokino | 2024-04-04 | 9:20 | 2024-04-04 | 14:07 | 0.76422 | 0.0047957 | 45 | 7171.0667 | Planned | Planned interruption
178 |  | INC 421003507 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-04-08 | 9:15 | 2024-04-08 | 15:42 | 1.1951 | 0.0030905 | 29 | 11213.8167 | Planned | Planned interruption
179 |  | INC 421003511 | 13 - Tapairu/Mangatarata |  | 13 - Tapairu/Mangatarata | 2024-04-08 | 10:09 | 2024-04-08 | 12:42 | 0.0163 | 0.00010657 | 1 | 152.95 | Planned | Planned interruption
180 |  | INC 421003531 | 46 - Cooks Tooth/Herbertville |  | 46 - Cooks Tooth/Herbertville | 2024-04-17 | 9:03 | 2024-04-17 | 14:19 | 3.099 | 0.0098044 | 92 | 29079.6666 | Planned | Planned interruption
181 |  | INC 421003584 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2024-05-08 | 9:19 | 2024-05-08 | 13:39 | 0.38881 | 0.001492 | 14 | 3648.4 | Planned | Planned interruption
182 |  | INC 421003619 | 18 - Waipukurau South/Farm Rd |  | 18 - Waipukurau South/Farm Rd | 2024-05-09 | 9:07 | 2024-05-09 | 13:07 | 0.051072 | 0.00021314 | 2 | 479.2333 | Planned | Planned interruption
183 |  | INC 421003621 | 78 - Hinerangi |  | 78 - Hinerangi | 2024-05-09 | 9:11 | 2024-05-09 | 13:31 | 0.24906 | 0.00095913 | 9 | 2337.0333 | Planned | Planned interruption
184 |  | INC 421003623 | 02 - Wakarara/Tikokino |  | 02 - Wakarara/Tikokino | 2024-05-09 | 9:18 | 2024-05-09 | 14:36 | 1.5573 | 0.0049022 | 46 | 14612.6666 | Planned | Planned interruption
185 |  | INC 421003663 | 78 - Hinerangi |  | 78 - Hinerangi | 2024-05-10 | 9:13 | 2024-05-10 | 15:08 | 0.45473 | 0.0012788 | 12 | 4266.9667 | Planned | Planned interruption
186 |  | INC 421003784 | 76 - Maharakeke |  | 78 - Hinerangi | 2024-05-22 | 9:12 | 2024-05-22 | 14:33 | 0.21116 | 0.00074599 | 7 | 1981.4 | Planned | Planned interruption
187 |  | INC 421003786 | 02 - Wakarara/Tikokino |  | 02 - Wakarara/Tikokino | 2024-05-22 | 9:13 | 2024-05-22 | 11:48 | 0.7254 | 0.0046891 | 44 | 6806.8 | Planned | Planned interruption
188 |  | INC 421003790 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2024-05-22 | 9:23 | 2024-05-22 | 13:27 | 0.026033 | 0.00010657 | 1 | 244.2833 | Planned | Planned interruption
189 |  | INC 421003928 | 91 - Te Kura |  | 91 - Te Kura | 2024-05-24 | 9:03 | 2024-05-24 | 11:32 | 0.015851 | 0.00010657 | 1 | 148.7333 | Planned | Planned interruption
190 |  | INC 421004089 | 88 - Omakere/Pourerere |  | 88 - Omakere/Pourerere | 2024-05-28 | 8:32 | 2024-05-28 | 9:34 | 0.0065647 | 0.00010657 | 1 | 61.6 | Planned | Planned interruption
191 |  | INC 421004132 | 13 - Tapairu/Mangatarata |  | 13 - Tapairu/Mangatarata | 2024-05-29 | 2:29 | 2024-05-29 | 3:22 | 0.30331 | 0.0059679 | 56 | 2846.0833 | Unplanned | Defective equipment
192 |  | INC 421004139 | 03 - Argyll/Ruataniwha |  | 03 - Argyll/Ruataniwha | 2024-05-29 | 9:04 | 2024-05-29 | 12:59 | 0.70307 | 0.002984 | 28 | 6597.2666 | Planned | Planned interruption
193 |  | INC 421004141 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2024-05-29 | 9:05 | 2024-05-29 | 12:33 | 0.20579 | 0.0036234 | 22 | 1931.0667 | Planned | Planned interruption
194 |  | INC 421004219 | 04 - Burnside/Pukeora |  | 04 - Burnside/Pukeora | 2024-05-30 | 9:00 | 2024-05-30 | 11:49 | 0.2689 | 0.0020248 | 19 | 2523.25 | Planned | Planned interruption
195 |  | INC 421004229 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2024-05-30 | 10:31 | 2024-05-30 | 12:50 | 0.23664 | 0.0017051 | 16 | 2220.5333 | Planned | Planned interruption
196 |  | INC 421004257 | 86 - Otane/Pukehou |  | 86 - Otane/Pukehou | 2024-05-31 | 9:00 | 2024-05-31 | 12:41 | 0.0534 | 0.0063942 | 60 | 501.0833 | Planned | Planned interruption
197 |  | INC 421004258 | 18 - Waipukurau South/Farm Rd |  | 18 - Waipukurau South/Farm Rd | 2024-05-31 | 9:01 | 2024-05-31 | 11:02 | 0.33379 | 0.0027708 | 26 | 3132.1333 | Planned | Planned interruption
198 |  | INC 421004262 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2024-05-31 | 9:51 | 2024-05-31 | 15:47 | 0.64481 | 0.0018117 | 17 | 6050.5833 | Planned | Planned interruption
199 |  | INC 421004317 | 88 - Omakere/Pourerere |  | 88 - Omakere/Pourerere | 2024-06-02 | 9:01 | 2024-06-02 | 10:15 | 0.24325 | 0.019502 | 104 | 2282.5666 | Unplanned | Defective equipment
200 |  | INC 421004419 | 91 - Te Kura |  | 91 - Te Kura | 2024-06-05 | 9:04 | 2024-06-05 | 14:20 | 1.5125 | 0.0047957 | 45 | 14192.25 | Planned | Planned interruption
201 |  | INC 421004423 | 88 - Omakere/Pourerere |  | 88 - Omakere/Pourerere | 2024-06-05 | 9:29 | 2024-06-05 | 14:46 | 0.43881 | 0.0013854 | 13 | 4117.5333 | Planned | Planned interruption
202 |  | INC 421004424 | 18 - Waipukurau South/Farm Rd |  | 18 - Waipukurau South/Farm Rd | 2024-06-05 | 9:33 | 2024-06-05 | 11:42 | 0.47986 | 0.00373 | 35 | 4502.75 | Planned | Planned interruption
203 |  | INC 421004460 | 18 - Waipukurau South/Farm Rd |  | 19 - Hatuma/Wanstead | 2024-06-06 | 9:11 | 2024-06-06 | 16:14 | 1.0818 | 0.0025577 | 24 | 10151.2 | Planned | Planned interruption
204 |  | INC 421004496 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-06-07 | 9:22 | 2024-06-07 | 13:05 | 0.57207 | 0.0025577 | 24 | 5368 | Planned | Planned interruption
205 |  | INC 421004613 | 03 - Argyll/Ruataniwha |  | 03 - Argyll/Ruataniwha | 2024-06-11 | 9:01 | 2024-06-11 | 12:07 | 1.1332 | 0.0060745 | 57 | 10633.35 | Planned | Planned interruption
206 |  | INC 421004615 | 88 - Omakere/Pourerere |  | 88 - Omakere/Pourerere | 2024-06-11 | 9:20 | 2024-06-11 | 14:21 | 0.2028 | 0.0082059 | 40 | 1903 | Planned | Planned interruption
207 |  | INC 421004640 | 88 - Omakere/Pourerere |  | 88 - Omakere/Pourerere | 2024-06-12 | 9:11 | 2024-06-12 | 13:29 | 0.85378 | 0.0033037 | 31 | 8011.4333 | Planned | Planned interruption
208 |  | INC 421004734 | 88 - Omakere/Pourerere |  | 88 - Omakere/Pourerere | 2024-06-14 | 9:20 | 2024-06-14 | 11:30 | 0.16655 | 0.0012788 | 12 | 1562.8 | Planned | Planned interruption
209 |  | INC 421004742 | 91 - Te Kura |  | 91 - Te Kura | 2024-06-14 | 10:38 | 2024-06-14 | 12:39 | 0.012865 | 0.00010657 | 1 | 120.7167 | Planned | Planned interruption
210 |  | INC 421004771 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2024-06-14 | 15:36 | 2024-06-14 | 15:38 | 0.0043907 | 0.0025577 | 24 | 41.2 | Unplanned | Vegetation
211 |  | INC 421004882 | 91 - Te Kura |  | 91 - Te Kura | 2024-06-17 | 8:43 | 2024-06-17 | 10:01 | 0.10701 | 0.0015986 | 15 | 1004.1167 | Planned | Planned interruption
212 |  | INC 421004920 | 13 - Tapairu/Mangatarata |  | 03 - Argyll/Ruataniwha | 2024-06-18 | 9:06 | 2024-06-18 | 15:02 | 0.037907 | 0.00010657 | 1 | 355.7 | Planned | Planned interruption
213 |  | INC 421004920 | 13 - Tapairu/Mangatarata |  | 13 - Tapairu/Mangatarata | 2024-06-18 | 9:21 | 2024-06-18 | 14:53 | 0.56624 | 0.0017051 | 16 | 5313.3333 | Planned | Planned interruption
214 |  | INC 421004961 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2024-06-20 | 10:12 | 2024-06-20 | 11:45 | 0.19955 | 0.002984 | 28 | 1872.5 | Unplanned | Defective equipment
215 |  | INC 421004993 | 88 - Omakere/Pourerere |  | 88 - Omakere/Pourerere | 2024-06-21 | 9:10 | 2024-06-21 | 11:35 | 0.046374 | 0.00031971 | 3 | 435.15 | Planned | Planned interruption
216 |  | INC 421004994 | 88 - Omakere/Pourerere |  | 88 - Omakere/Pourerere | 2024-06-21 | 9:11 | 2024-06-21 | 12:32 | 0.1072 | 0.00053285 | 5 | 1005.9167 | Planned | Planned interruption
217 |  | INC 421005038 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2024-07-17 | 9:23 | 2024-07-17 | 14:54 | 0.38734 | 0.0011723 | 11 | 3634.5833 | Planned | Planned interruption
218 |  | INC 421005040 | 75 - Paget Rd/Burnside |  | 75 - Paget Rd/Burnside | 2024-07-17 | 9:46 | 2024-07-17 | 13:57 | 0.50763 | 0.0020248 | 19 | 4763.3 | Planned | Planned interruption
219 |  | INC 421005070 | 88 - Omakere/Pourerere |  | 88 - Omakere/Pourerere | 2024-07-18 | 9:14 | 2024-07-18 | 13:54 | 0.18601 | 0.0026643 | 15 | 1745.4333 | Planned | Planned interruption
220 |  | INC 421005097 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-07-19 | 9:11 | 2024-07-19 | 13:04 | 0.27267 | 0.0011723 | 11 | 2558.6 | Planned | Planned interruption
221 |  | INC 421005148 | Wilder Rd |  | 45 - Porangahau/Wallingford | 2024-08-01 | 0:32 | 2024-08-01 | 0:48 | 0.70927 | 0.044013 | 413 | 6655.4164 | Unplanned | Unknown
222 |  | INC 421005148 | Wilder Rd |  | 46 - Cooks Tooth/Herbertville | 2024-08-01 | 0:32 | 2024-08-01 | 0:55 | 0.83707 | 0.03666 | 344 | 7854.6666 | Unplanned | Unknown
223 |  | INC 421005183 | 85 - Waipawa Urban |  | 85 - Waipawa Urban | 2024-08-21 | 9:07 | 2024-08-21 | 11:20 | 1.1335 | 0.0085256 | 80 | 10636 | Planned | Planned interruption
224 |  | INC 421005198 | 86 - Otane/Pukehou |  | 86 - Otane/Pukehou | 2024-10-02 | 9:02 | 2024-10-02 | 16:05 | 1.2691 | 0.0090585 | 60 | 11908.7167 | Planned | Planned interruption
225 |  | INC 421005202 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2024-10-02 | 9:09 | 2024-10-02 | 10:21 | 0.13824 | 0.0019183 | 18 | 1297.2 | Planned | Planned interruption
226 |  | INC 421005205 | 46 - Cooks Tooth/Herbertville |  | 46 - Cooks Tooth/Herbertville | 2024-10-02 | 9:22 | 2024-10-02 | 12:27 | 0.01974 | 0.00010657 | 1 | 185.2333 | Planned | Planned interruption
227 |  | INC 421005242 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-10-03 | 6:26 | 2024-10-03 | 14:16 | 1.8947 | 0.06277 | 379 | 17779.2 | Unplanned | Vegetation
228 |  | INC 421005243 | 88 - Omakere/Pourerere |  | 88 - Omakere/Pourerere | 2024-10-03 | 6:27 | 2024-10-03 | 6:47 | 0.43673 | 0.038685 | 363 | 4098.0498 | Unplanned | Unknown
229 |  | INC 421005351 | 03 - Argyll/Ruataniwha |  | 03 - Argyll/Ruataniwha | 2024-10-09 | 12:20 | 2024-10-09 | 12:42 | 0.0048205 | 0.00021314 | 2 | 45.2333 | Unplanned | Other cause | No cause detail captured
230 |  | INC 421005419 | 86 - Otane/Pukehou |  | 86 - Otane/Pukehou | 2024-10-09 | 9:01 | 2024-10-09 | 14:20 | 1.0893 | 0.0063942 | 60 | 10221.2166 | Planned | Planned interruption
231 |  | INC 421005421 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-10-09 | 9:02 | 2024-10-09 | 13:46 | 0.66452 | 0.0023445 | 22 | 6235.5333 | Planned | Planned interruption
232 |  | INC 421005456 | 46 - Cooks Tooth/Herbertville |  | 46 - Cooks Tooth/Herbertville | 2024-10-10 | 9:21 | 2024-10-10 | 12:57 | 4.5805 | 0.021207 | 199 | 42980.6833 | Planned | Planned interruption
233 |  | INC 421005575 | 75 - Paget Rd/Burnside |  | 75 - Paget Rd/Burnside | 2024-10-14 | 22:10 | 2024-10-14 | 22:20 | 0.0010675 | 0.00010657 | 1 | 10.0167 | Unplanned | Lightning
234 |  | INC 421005606 | 74 - Takapau Urban/Otawhao |  | 74 - Takapau Urban/Otawhao | 2024-10-14 | 21:26 | 2024-10-14 | 21:44 | 0.0038827 | 0.00021314 | 2 | 36.4333 | Unplanned | Lightning
235 |  | INC 421005620 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-10-15 | 9:03 | 2024-10-15 | 13:23 | 0.30533 | 0.0011723 | 11 | 2865.0667 | Planned | Planned interruption
236 |  | INC 421005663 | 85 - Waipawa Urban |  | 13 - Tapairu/Mangatarata | 2024-10-16 | 9:06 | 2024-10-16 | 13:14 | 0.13224 | 0.00053285 | 5 | 1240.9167 | Planned | Planned interruption
237 |  | INC 421005663 | 85 - Waipawa Urban |  | 85 - Waipawa Urban | 2024-10-16 | 9:17 | 2024-10-16 | 13:05 | 0.24316 | 0.0010657 | 10 | 2281.6667 | Planned | Planned interruption
238 |  | INC 421005665 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-10-16 | 9:07 | 2024-10-16 | 11:08 | 0.012881 | 0.00010657 | 1 | 120.8667 | Planned | Planned interruption
239 |  | INC 421005700 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-10-17 | 9:05 | 2024-10-17 | 12:31 | 0.043949 | 0.00021314 | 2 | 412.4 | Planned | Planned interruption
240 |  | INC 421005808 | 86 - Otane/Pukehou |  | 86 - Otane/Pukehou | 2024-10-22 | 8:34 | 2024-10-22 | 15:19 | 2.7122 | 0.037832 | 207 | 25450.1333 | Planned | Planned interruption
241 |  | INC 421005843 | 02 - Wakarara/Tikokino |  | 02 - Wakarara/Tikokino | 2024-10-23 | 9:29 | 2024-10-23 | 15:28 | 0.038275 | 0.00010657 | 1 | 359.15 | Planned | Planned interruption
242 |  | INC 421005848 | 15 - Waipukurau CBD |  | 15 - Waipukurau CBD | 2024-10-23 | 10:12 | 2024-10-23 | 11:32 | 4.4855 | 0.10082 | 882 | 42089.3994 | Unplanned | Defective equipment
243 |  | INC 421005953 | 46 - Cooks Tooth/Herbertville |  | 46 - Cooks Tooth/Herbertville | 2024-10-27 | 14:30 | 2024-10-27 | 14:31 | 0.025577 | 0.021314 | 200 | 240 | Unplanned | Unknown
244 |  | INC 421006024 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-10-30 | 9:35 | 2024-10-30 | 11:45 | 0.041775 | 0.00031971 | 3 | 392 | Planned | Planned interruption
245 |  | INC 421006053 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-10-31 | 9:01 | 2024-10-31 | 14:52 | 1.3858 | 0.0039431 | 37 | 13003.65 | Planned | Planned interruption
246 |  | INC 421006085 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-11-01 | 9:45 | 2024-11-01 | 15:36 | 0.63544 | 0.0018117 | 17 | 5962.6833 | Planned | Planned interruption
247 |  | INC 421006170 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2024-11-04 | 17:09 | 2024-11-04 | 17:36 | 0.0028934 | 0.00010657 | 1 | 27.15 | Unplanned | Defective equipment
248 |  | INC 421006177 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2024-11-05 | 0:27 | 2024-11-05 | 15:49 | 4.134 | 0.10359 | 635 | 38791.1328 | Unplanned | Third party interference
249 |  | INC 421006188 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-11-05 | 9:02 | 2024-11-05 | 13:26 | 0.1124 | 0.00042628 | 4 | 1054.7333 | Planned | Planned interruption
250 |  | INC 421006216 | 18 - Waipukurau South/Farm Rd |  | 18 - Waipukurau South/Farm Rd | 2024-11-06 | 21:51 | 2024-11-06 | 22:07 | 0.045271 | 0.0028774 | 27 | 424.8 | Unplanned | Unknown
251 |  | INC 421006223 | 18 - Waipukurau South/Farm Rd |  | 18 - Waipukurau South/Farm Rd | 2024-11-07 | 8:47 | 2024-11-07 | 13:57 | 2.0885 | 0.010231 | 78 | 19597.7 | Planned | Planned interruption
252 |  | INC 421006345 | 83 - Omakere/Elsthorpe |  | 83 - Omakere/Elsthorpe | 2024-11-11 | 9:21 | 2024-11-11 | 12:30 | 0.060436 | 0.00031971 | 3 | 567.1 | Planned | Planned interruption
253 |  | INC 421006392 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2024-12-03 | 9:01 | 2024-12-03 | 11:33 | 0.032301 | 0.00021314 | 2 | 303.1 | Planned | Planned interruption
254 |  | INC 421006393 | 46 - Cooks Tooth/Herbertville |  | 46 - Cooks Tooth/Herbertville | 2024-12-03 | 9:04 | 2024-12-03 | 12:56 | 0.024714 | 0.00010657 | 1 | 231.9 | Planned | Planned interruption
255 |  | INC 421006398 | 15 - Waipukurau CBD |  | 15 - Waipukurau CBD | 2024-12-03 | 9:12 | 2024-12-03 | 15:52 | 3.1992 | 0.0079928 | 75 | 30019.6833 | Planned | Planned interruption
256 |  | INC 421006431 | 86 - Otane/Pukehou |  | 86 - Otane/Pukehou | 2024-12-04 | 5:55 | 2024-12-04 | 18:44 | 0.027555 | 0.00021314 | 1 | 258.5667 | Planned | Planned interruption
257 |  | INC 421006447 | 85 - Waipawa Urban |  | 85 - Waipawa Urban | 2024-12-04 | 9:26 | 2024-12-04 | 13:57 | 2.3038 | 0.0085256 | 80 | 21617.3333 | Planned | Planned interruption
258 |  | INC 421006595 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2025-01-10 | 9:06 | 2025-01-10 | 11:36 | 0.015954 | 0.00010657 | 1 | 149.7 | Planned | Planned interruption
259 |  | INC 421006691 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2025-01-14 | 9:08 | 2025-01-14 | 13:17 | 0.053015 | 0.00021314 | 2 | 497.4667 | Planned | Planned interruption
260 |  | INC 421006693 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2025-01-14 | 9:14 | 2025-01-14 | 13:25 | 0.026747 | 0.00010657 | 1 | 250.9833 | Planned | Planned interruption
261 |  | INC 421006694 | 03 - Argyll/Ruataniwha |  | 03 - Argyll/Ruataniwha | 2025-01-14 | 9:17 | 2025-01-14 | 11:45 | 0.01576 | 0.00010657 | 1 | 147.8833 | Planned | Planned interruption
262 |  | INC 421006759 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2025-01-16 | 9:19 | 2025-01-16 | 13:38 | 0.55182 | 0.0021314 | 20 | 5178 | Planned | Planned interruption
263 |  | INC 421006761 | 03 - Argyll/Ruataniwha |  | 03 - Argyll/Ruataniwha | 2025-01-16 | 9:26 | 2025-01-16 | 10:36 | 0.022268 | 0.00031971 | 3 | 208.95 | Planned | Planned interruption
264 |  | INC 421006793 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2025-01-21 | 9:16 | 2025-01-21 | 12:07 | 0.43903 | 0.0025577 | 24 | 4119.6 | Planned | Planned interruption
265 |  | INC 421006824 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2025-01-22 | 9:24 | 2025-01-22 | 14:16 | 0.9655 | 0.0033037 | 31 | 9059.75 | Planned | Planned interruption
266 |  | INC 421006864 | 04 - Burnside/Pukeora |  | 04 - Burnside/Pukeora | 2025-01-23 | 19:03 | 2025-01-23 | 19:16 | 0.0042735 | 0.00031971 | 3 | 40.1 | Unplanned | Unknown
267 |  | INC 421006878 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2025-01-24 | 9:27 | 2025-01-24 | 13:45 | 0.11025 | 0.00042628 | 4 | 1034.5333 | Planned | Planned interruption
268 |  | INC 421006899 | 20 - Ovation |  | 20 - Ovation | 2025-01-25 | 7:00 | 2025-01-25 | 16:20 | 0.059656 | 0.00010657 | 1 | 559.7833 | Planned | Planned interruption
269 |  | INC 421007035 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2025-01-29 | 9:00 | 2025-01-29 | 13:46 | 0.1669 | 0.012575 | 61 | 1566.0833 | Planned | Planned interruption
270 |  | INC 421007084 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2025-01-30 | 9:18 | 2025-01-30 | 14:52 | 0.39143 | 0.0011723 | 11 | 3672.9833 | Planned | Planned interruption
271 |  | INC 421007292 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2025-02-04 | 9:06 | 2025-02-04 | 14:36 | 0.49061 | 0.001492 | 14 | 4603.65 | Planned | Planned interruption
272 |  | INC 421007341 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2025-02-05 | 9:26 | 2025-02-05 | 12:02 | 0.033236 | 0.00021314 | 2 | 311.8667 | Planned | Planned interruption
273 |  | INC 421007493 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2025-02-10 | 8:58 | 2025-02-10 | 12:23 | 0.02182 | 0.00010657 | 1 | 204.75 | Planned | Planned interruption
274 |  | INC 421007533 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2025-02-11 | 9:04 | 2025-02-11 | 13:18 | 0.027101 | 0.00010657 | 1 | 254.3 | Planned | Planned interruption
275 |  | INC 421007535 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2025-02-11 | 9:05 | 2025-02-11 | 10:23 | 0.0082698 | 0.00010657 | 1 | 77.6 | Planned | Planned interruption
276 |  | INC 421007541 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2025-02-11 | 9:28 | 2025-02-11 | 12:43 | 0.020721 | 0.00010657 | 1 | 194.4333 | Planned | Planned interruption
277 |  | INC 421007591 | 19 - Hatuma/Wanstead |  | 45 - Porangahau/Wallingford | 2025-02-13 | 9:08 | 2025-02-13 | 13:35 | 0.53864 | 0.0020248 | 19 | 5054.3667 | Planned | Planned interruption
278 |  | INC 421007621 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2025-02-14 | 9:12 | 2025-02-14 | 12:32 | 0.1069 | 0.00053285 | 5 | 1003.0833 | Planned | Planned interruption
279 |  | INC 421007682 | 46 - Cooks Tooth/Herbertville |  | 46 - Cooks Tooth/Herbertville | 2025-02-17 | 8:04 | 2025-02-17 | 9:04 | 0.084118 | 0.0013854 | 13 | 789.3167 | Unplanned | Defective equipment
280 |  | INC 421007790 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2025-02-19 | 11:36 | 2025-02-19 | 16:22 | 0.030484 | 0.00010657 | 1 | 286.05 | Planned | Planned interruption
281 |  | INC 421007792 | 74 - Takapau Urban/Otawhao |  | 74 - Takapau Urban/Otawhao | 2025-02-19 | 12:57 | 2025-02-19 | 13:42 | 0.0048454 | 0.00010657 | 1 | 45.4667 | Unplanned | Defective equipment
282 |  | INC 421007829 | 74 - Takapau Urban/Otawhao |  | 74 - Takapau Urban/Otawhao | 2025-02-20 | 13:03 | 2025-02-20 | 13:36 | 0.032259 | 0.00095913 | 9 | 302.7 | Unplanned | Defective equipment
283 |  | INC 421007902 | 88 - Omakere/Pourerere |  | 88 - Omakere/Pourerere | 2025-02-22 | 19:57 | 2025-02-22 | 20:12 | 0.16847 | 0.011083 | 104 | 1580.8 | Unplanned | Unknown
284 |  | INC 421007908 | 03 - Argyll/Ruataniwha |  | 03 - Argyll/Ruataniwha | 2025-02-23 | 7:40 | 2025-02-23 | 7:45 | 0.052443 | 0.01833 | 172 | 492.1 | Unplanned | Unknown
285 |  | INC 421007977 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2025-02-25 | 9:13 | 2025-02-25 | 14:47 | 2.5251 | 0.0075665 | 71 | 23693.8833 | Planned | Planned interruption
286 |  | INC 421008002 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2025-02-26 | 9:00 | 2025-02-26 | 14:37 | 1.4226 | 0.01492 | 89 | 13349.0666 | Planned | Planned interruption
287 |  | INC 421008038 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2025-02-27 | 9:12 | 2025-02-27 | 15:12 | 0.98895 | 0.012575 | 71 | 9279.85 | Planned | Planned interruption
288 |  | INC 421008043 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2025-02-27 | 9:45 | 2025-02-27 | 15:06 | 0.034157 | 0.00010657 | 1 | 320.5167 | Planned | Planned interruption
289 |  | INC 421008076 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2025-02-28 | 9:33 | 2025-02-28 | 16:21 | 0.13048 | 0.00031971 | 3 | 1224.4 | Planned | Planned interruption
290 |  | INC 421008125 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2025-03-04 | 9:11 | 2025-03-04 | 14:22 | 0.87564 | 0.012575 | 71 | 8216.5999 | Planned | Planned interruption
291 |  | INC 421008126 | 18 - Waipukurau South/Farm Rd |  | 18 - Waipukurau South/Farm Rd | 2025-03-04 | 9:11 | 2025-03-04 | 10:02 | 0.15188 | 0.002984 | 28 | 1425.2 | Planned | Planned interruption
292 |  | INC 421008165 | 19 - Hatuma/Wanstead |  | 19 - Hatuma/Wanstead | 2025-03-05 | 9:02 | 2025-03-05 | 13:29 | 0.59339 | 0.002238 | 21 | 5568.05 | Planned | Planned interruption
293 |  | INC 421008203 | 45 - Porangahau/Wallingford |  | 45 - Porangahau/Wallingford | 2025-03-25 | 9:00 | 2025-03-25 | 13:33 | 0.78428 | 0.0028774 | 27 | 7359.3 | Planned | Planned interruption
¹ Extend table as necessary to disclose information for all individual interruptions